This brief is being provided to inform the board, staff, and public of the details of an agenda item that requires no action from the board. The President of the Board will provide board members, staff, and the public the opportunity to ask questions about this topic when this agenda item is announced.

**Date: 1/88/2022**

**Originator:** Assistant GM/Lead Operator

**Agenda Topic Title: Field Report**

**Purpose of Brief:** Informational Briefing

**Supporting Documents Included: No**

**Water Distribution System:**

4th Qtr State Report has been completed and submitted.

The Annule Monitoring Report is complete.

Snow removal has been completed for all fire Hydrants

**Water Distribution Power Grant**

We have Placed 6 of the 7 generator and Propane tanks and ran propane lines.

We still need to complete Booster #1 generator as well as set and Propane tank. A retaining wall of boulders need to be constructed to retain the soil at booster #1 for the installation for the propane tank. Conduit and wiring are being subcontracted be Grizzly Elect. for all buildings.

### Sewer Transmission System and Septic Tanks:

* CV Salts Update, We have built a new sample site at Falling Water Leach Field CV Salts average is about 655PPM the Maxum Contaminant level is 700PPM this new regulations for salts is a new daily testing requirement.
* TheSeptic tank pumping program is moving along we have has been started for 2022