This brief is being provided to inform the board, staff, and public of the details of an agenda item that requires no action from the board. The President of the Board will provide board members, staff, and the public the opportunity to ask questions about this topic when this agenda item is announced.

**Date: 3/18/2022**

**Originator:** Assistant GM/Lead Operator

**Agenda Topic Title: Field Report**

**Purpose of Brief:** Informational Briefing

**Supporting Documents Included: No**

**Water Distribution System:**

2021 CCR State Report has been completed and submitted.

The 2021 Electronic Annual Report (EAR) has been started.

**Prop 1 Leak TA Request State Waterboard:**

State waterboard has granted GMCSD a free Leak detection survey by Cal Rural Water.

The Cal Rural Water Leak detection team is planning to come out to start the leak detection next Wednesday 23rd. Pressure zone 6 which is run by Booster station #4 will be examined for leaks

**Water Distribution Power Grant**

Generators and propane tanks have been set at Booster Stations 2 - 7

We still need to complete Booster #1 generator as well as set and Propane tank. A retaining wall of boulders will need to be constructed to retain the soil at Booster #1 for the installation for the propane tank.

Conduit and wiring are being subcontracted to Grizzly Elect. for all installations.

### Sewer Transmission System and Septic Tanks:

CV Salts Update, We have built a new sample site at Falling Water Leach Field CV Salts average is about 655 PPM the Maxum Contaminant level is 700PPM this new regulations for salts is a new daily testing requirement.

The Septic tank pumping program is moving along well and we have started 2022