This brief is being provided to inform the board, staff and public of the details of an agenda item that requires no action from the board. The President of the Board will provide board members, staff, and the public the opportunity to ask questions about this topic when this agenda item is announced.

**Date: 4/12/2021**

**Originator:** Assistant GM/Lead Operator

**Agenda Topic Title:**

**Purpose of Brief:** Informational Briefing

**Supporting Documents Included: No**

**Water Distribution System:**

### Well 37 Deer Trail. The utility electrical connection work is out for bid. We have finished the back fill process for the vault. We plan to landscape in May, over and around the vault weather permitting. Utility infrastructure should be completed in early spring bringing this well online.

**Field Staff Hrs.**

The hours of the field staff are still set to 32hrs on water and Sewer and added 4 hrs. of fire HFR for a total of 36 a week. The HFR work is for clearing Windsong leach field of most trees and ladder fuels as well as to repair the CSD HFR trailer.

**Sewer Transmission System and Septic Tanks:**

**Septic tank inspection program**

* We are currently working on a Septic tank policy with Rich and Tiana which will reduce maintenance and repairs.
* The 2020Septic tank inspection program is complete. We have 35 tanks to be pumped at a cost of roughly $400 Ea.
* We have started the 2021 Septic tank inspection program.
* We have almost finished the tree reduction process at Windsong Leach Field to increase field performance.
* We are working with Gorge T Hull to reprogram the FWLF Dosing Station computer to maximize the perk rate.