This brief is being provided to inform the board, staff, and public of the details of an agenda item that requires no action from the board. The President of the Board will provide board members, staff, and the public the opportunity to ask questions about this topic when this agenda item is announced.

**Date: 9/23/2021**

**Originator:** Assistant GM/Lead Operator

**Agenda Topic Title: Field Report**

**Purpose of Brief:** Informational Briefing

**Supporting Documents Included: No**

**Water Distribution System:**

### Well 37 Deer Trail.

Well 37 building heater installation is completed.

### 

.

**Water Distribution Power Grant**

We have poured all the generator concrete slabs. And conduit is ran to all buildings.

Booster #5 Gen. is planned to be installed on the week of the Nov. 15

### Sewer Transmission System and Septic Tanks:

**Septic tank inspection program**

* TheSeptic tank pumping program is moving along we have ¾ done . We have started the 2021 Septic tank inspection program and are about 2/3 of the way through.
* We have repaired a sewer leak off Village Trail it was a lateral line from a septic tank